## Sheet1
Operational Review of Register Content Codes - Consultation paper (August 2017) - Appendix E
Very Draft Standard Register Content Codes
Description |  | Option E – existing and new register content codes |  | Option F – new register content codes |  | Unit of measure | Notes
|  | Register content code | Period of availability | Register content code | Period of availability
Consumption or Generation | Demand over a period
| Congestion Period Demand kVA | 0250 | 24 | 0250 | 24 | kVA
| Congestion Period Demand kW | 0251 | 24 | 0251 | 24 | kW
| On Peak Period Demand kVA | 0300 | 24 | 0300 | 24 | kVA
| On Peak Period Demand kW | 0301 | 24 | 0301 | 24 | kW
| Summer on peak demand kVA | 320 | 24 | 320 | 24 | kVA
| Winter on peak demand kVA | 321 | 24 | 321 | 24 | kVA
| Monthly Demand kVA | AD | 24 | 0400 | 24 | kVA
| Monthly Demand kW | KD | 24 | 0401 | 24 | kW
Standard
| Reactive anytime | RH | 24 | 1300 | 24 | kVArh
| Anytime kWh | UN | 24 | 1500 | 24 | kWh
| Anytime kW | 402 | 24 | 402 | 24 | kW
| Anytime kVAh | 403 | 24 | 403 | 24 | kVAh
| Anytime kVA | 404 | 24 | 404 | 24 | kVA
| Anytime kVArh | 405 | 24 | 405 | 24 | kVArh
| Anytime kVAr | 406 | 24 | 406 | 24 | kVAr
| Inclusive, controlled load part controlled to a maximum of 4 hours | IN | 20 | 1503 | 20 | kWh
| Inclusive, controlled load part controlled to a maximum of 5 hours | IN | 19 | 1504 | 19 | kWh
| Inclusive, controlled load part controlled to a maximum of 6 hours | IN | 18 | 1505 | 18 | kWh
| Inclusive, controlled load part controlled to a maximum of 7 hours | IN | 17 | 1506 | 17 | kWh
| Inclusive, controlled load part controlled to a maximum of 8 hours | IN | 16 | 1507 | 16 | kWh
| Inclusive, controlled load part controlled to a maximum of 9 hours | IN | 15 | 1508 | 15 | kWh
| Inclusive, controlled load part controlled to a maximum of 10 hours | IN | 14 | 1509 | 14 | kWh
| Emergency – load on the channel is a combination of load controlled in an emergency and uncontrolled load | INEM | 24 | 1550 | 24 | kWh
| Controlled to a maximum of 4 hours | CN | 20 | 1600 | 20 | kWh
| Controlled to a maximum of 5 hours | CN | 19 | 1601 | 19 | kWh
| Controlled to a maximum of 6 hours | CN | 18 | 1602 | 18 | kWh
| Controlled to a maximum of 7 hours | CN | 17 | 1603 | 17 | kWh
| Controlled to a maximum of 8 hours | CN | 16 | 1604 | 16 | kWh
| Controlled to a maximum of 9 hours | CN | 15 | 1605 | 15 | kWh
| Controlled to a maximum of 10 hours | CN | 14 | 1606 | 14 | kWh
| Priority controlled to a maximum of 2 hours | 1650 | 22 | 1650 | 22 | kWh
| Priority controlled to a maximum of 4 hours | 1651 | 20 | 1651 | 20 | kWh
| Priority controlled to a maximum of 6 hours | 1652 | 18 | 1652 | 18 | kWh
| Priority controlled to a maximum of 8 hours | 1653 | 16 | 1653 | 16 | kWh
| Priority controlled to a maximum of 12 hours | 1654 | 12 | 1654 | 12 | kWh
| Priority controlled to a maximum of 16 hours | 1655 | 8 | 1655 | 8 | kWh
| Day only single-channel controlled 0600 to 2400 | DC | See notes | 1690 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only single-channel controlled 0700 to 2400 | DC | See notes | 1691 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only single-channel controlled 0700 to 2300 | DC | See notes | 1692 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only single-channel controlled 0700 to 2200 | DC | See notes | 1693 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only single-channel controlled 0700 to 2100 | DC | See notes | 1694 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only single-channel controlled 0800 to 2400 | DC | See notes | 1695 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only single-channel controlled 2400 to 0600 | NC | See notes | 1700 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only single-channel controlled 2400 to 0700 | NC | See notes | 1701 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only single-channel controlled 2300 to 0700 | NC | See notes | 1702 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only single-channel controlled 2200 to 0700 | NC | See notes | 1703 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only single-channel controlled 2100 to 0700 | NC | See notes | 1704 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only single-channel controlled 2400 to 0800 | NC | See notes | 1705 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2400 to 0600 with day boost | 1750 | See notes | 1750 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2400 to 0700 with day boost | 1751 | See notes | 1751 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2300 to 0700 with day boost | 1752 | See notes | 1752 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2200 to 0700 with day boost | 1753 | See notes | 1753 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2100 to 0700 with day boost | 1754 | See notes | 1754 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2400 to 0800 with day boost | 1755 | See notes | 1755 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only single channel controlled 2300 to 0700 with 3 hour day boost | NC | See notes | 1756 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only single channel controlled 2200 to 0700 with 3 hour day boost | NC | See notes | 1757 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only single channel controlled 2100 to 0700 with 3 hour day boost | NC | See notes | 1758 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
Day/night
| Day only 0600 to 2400 of day/night | D | 18 | 2300 | 18 | kWh
| Day only 0700 to 2400 of day/night | D | 17 | 2301 | 17 | kWh
| Day only 0700 to 2300 of day/night | D | 16 | 2302 | 16 | kWh
| Day only 0700 to 2100 of day/night | D | 14 | 2303 | 14 | kWh
| Day only 0800 to 2400 of day/night | D | 18 | 2304 | 18 | kWh
| Night only 2400 to 0600 of day/night | N | 6 | 2350 | 6 | kWh
| Night only 2400 to 0700 of day/night | N | 7 | 2351 | 7 | kWh
| Night only 2300 to 0700 of day/night | N | 8 | 2352 | 8 | kWh
| Night only 2100 to 0700 of day/night | N | 10 | 2353 | 10 | kWh
| Night only 2400 to 0800 of day/night | N | 8 | 2354 | 8 | kWh
| Day only 0600 to 2400 of day/night controlled | DCN | See notes | 2400 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0700 to 2400 of day/night controlled | DCN | See notes | 2401 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0700 to 2300 of day/night controlled | DCN | See notes | 2402 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0700 to 2100 of day/night controlled | DCN | See notes | 2403 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0800 to 2400 of day/night controlled | DCN | See notes | 2404 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2400 to 0600 of day/night controlled | NCN | See notes | 2450 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2400 to 0700 of day/night controlled | NCN | See notes | 2451 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2300 to 0700 of day/night controlled | NCN | See notes | 2452 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2100 to 0700 of day/night controlled | NCN | See notes | 2453 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2400 to 0800 of day/night controlled | NCN | See notes | 2454 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0600 to 2400 of day/night inclusive | DIN | See notes | 2500 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0700 to 2400 of day/night inclusive | DIN | See notes | 2501 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0700 to 2300 of day/night inclusive | DIN | See notes | 2502 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0700 to 2200 of day/night inclusive | DIN | See notes | 2503 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0700 to 2100 of day/night inclusive | DIN | See notes | 2504 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Day only 0800 to 2400 of day/night inclusive | DIN | See notes | 2505 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2400 to 0600 of day/night inclusive | NIN | See notes | 2550 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2400 to 0700 of day/night inclusive | NIN | See notes | 2551 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2300 to 0700 of day/night inclusive | NIN | See notes | 2552 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2200 to 0700 of day/night inclusive | NIN | See notes | 2553 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2100 to 0700 of day/night inclusive | NIN | See notes | 2554 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
| Night only 2400 to 0800 of day/night inclusive | NIN | See notes | 2555 | See notes | kWh | Refer to distributor's pricing information for controlled load policy
Series summer/winter
| Summer 1 October to 30 April 0000 to 2400 | SR | 24 | 3200 | 24 | kWh
| Winter 1 May to 30 September 0000 to 2400 | WR | 24 | 3201 | 24 | kWh
| Summer week day 1 October to 30 April 0000 to 2400 | SRWD | 24 | 3202 | 24 | kWh
| Winter week day 1 May to 30 September 0000 to 2400 | WRWD | 24 | 3203 | 24 | kWh
| Summer weekday - records day consumption during summer weekdays | SRWDD | As programmed | 3206 | As programmed | kWh
| Summer weekday night - records night consumption during summer weekdays | SRWDN | As programmed | 3207 | As programmed | kWh
| Summer weekend - records consumption during summer weekends, i.e. Sat-Sun | SRWE | As programmed | 3208 | As programmed | kWh
| Summer weekend day - records day consumption during summer weekends | SRWED | As programmed | 3209 | As programmed | kWh
| Summer weekend night - records night consumption during summer weekends | SRWEN | As programmed | 3210 | As programmed | kWh
| Winter weekday - records consumption during winter weekdays, i.e. Mon-Fri | WRWD | As programmed | 3211 | As programmed | kWh
| Winter weekday day - records day consumption during winter weekdays | WRWDD | As programmed | 3212 | As programmed | kWh
| Winter weekday night - records night consumption during winter weekdays | WRWDN | As programmed | 3213 | As programmed | kWh
| Winter weekend - records consumption during winter weekends, i.e. Sat-Sun | WRWE | As programmed | 3214 | As programmed | kWh
| Winter weekend day - records day consumption during winter weekends | WRWED | As programmed | 3215 | As programmed | kWh
| Winter weekend night - records night consumption during winter weekends | WRWEN | As programmed | 3216 | As programmed | kWh
| Standard 3 Rate Weekday Peak Summer (0700-1100,1700-2100), 3 step rate | SRWDPK | 8 | 3217 | 8 | kWh
| Standard 3 Rate Weekday Peak Winter (0700-1100,1700-2100), 3 step rate | WRWDPK | 8 | 3218 | 8 | kWh
| Standard 3 Rate Weekday Off Peak (1100-1700, 2100-2300) & Weekend Off Peak (0700-2300) | WDOP | 8 | 3219 | 8 | kWh
Series peak/off peak
| Off peak, all times that are not on peak band 1 | 4203 | 16 | 4203 | 16 | kWh
| Off peak, all times that are not on peak band 2 | 4204 | 16 | 4204 | 16 | kWh
| Off peak, all times that are not on peak band 3 | 4205 | 16 | 4205 | 16 | kWh
| Peak, weekday 0700 to 1100 and 1700 to 2100 band 1 | 4200 | 8 | 4200 | 8 | kWh
| Peak, weekday 0700 to 1100 and 1700 to 2100 band 2 | 4201 | 8 | 4201 | 8 | kWh
| Peak, weekday 0700 to 1100 and 1700 to 2100 band 3 | 4202 | 8 | 4202 | 8 | kWh
| Off peak, weekdays 1100-1700, 2100-0700 and weekends 0000-2400 | OPKOOB | 16 | 4203 | 16 | kWh
| Peak, weekdays 0700-1100, 1700-2100 | PKOOB | 8 | 4200 | 8 | kWh
Series time of use weekday/weekend
| Weekday 0000 to 2400 | WD | 24 | 4300 | 24 | kWh
| Weekend 0000 to 2400 | WE | 24 | 4301 | 24 | kWh
| Weekday 0700 to 2300 | 4350 | 16 | 4350 | 16 | kWh
| Weekday 2300 to 2400 | 4351 | 1 | 4351 | 1 | kWh
| Weekday 2400 to 0700 | 4352 | 7 | 4352 | 7 | kWh
| Weekend 0700 to 2300 | 4353 | 16 | 4353 | 16 | kWh
| Weekend 2300 to 2400 | 4354 | 1 | 4354 | 1 | kWh
| Weekend 2400 to 0700 | 4355 | 7 | 4355 | 7 | kWh
| Weekday 0000 to 0700 | 4400 | 7 | 4400 | 7 | kWh
| Weekday 0700 to 1100 | 4401 | 4 | 4401 | 4 | kWh
| Weekday 1100 to 1700 | 4402 | 6 | 4402 | 6 | kWh
| Weekday 1700 to 2100 | 4403 | 4 | 4403 | 4 | kWh
| Weekday 2100 to 2400 | 4404 | 3 | 4404 | 3 | kWh
| Weekend 0000 to 2400 | 4405 | 24 | 4405 | 24 | kWh
| Weekday 0000 to 0700 | 4450 | 7 | 4450 | 7 | kWh
| Weekday 0700 to 1100 | 4451 | 4 | 4451 | 4 | kWh
| Weekday 1100 to 1700 | 4452 | 6 | 4452 | 6 | kWh
| Weekday 1700 to 2100 | 4453 | 4 | 4453 | 4 | kWh
| Weekday 2100 to 2300 | 4454 | 2 | 4454 | 2 | kWh
| Weekday 2300 to 2400 | 4455 | 1 | 4455 | 1 | kWh
| Weekend 0000 to 0700 | 4456 | 7 | 4456 | 7 | kWh
| Weekend 0700 to 1100 | 4457 | 4 | 4457 | 4 | kWh
| Weekend 1100 to 1700 | 4458 | 6 | 4458 | 6 | kWh
| Weekend 1700 to 2100 | 4459 | 4 | 4459 | 4 | kWh
| Weekend 2100 to 2300 | 4460 | 2 | 4460 | 2 | kWh
| Weekend 2300 to 2400 | 4461 | 1 | 4461 | 1 | kWh
| Weekday 0000 to 0600 | 4500 | 6 | 4500 | 6 | kWh | Off
| Weekday 0600 to 0730 | 4501 | 1.5 | 4501 | 1.5 | kWh | Shoulder
| Weekday 0730 to 0930 | 4502 | 2 | 4502 | 2 | kWh | Peak
| Weekday 0930 to 1730 | 4503 | 8 | 4503 | 8 | kWh | Shoulder
| Weekday 1730 to 1930 | 4504 | 2 | 4504 | 2 | kWh | Peak
| Weekday 1930 to 2200 | 4505 | 2.5 | 4505 | 2.5 | kWh | Shoulder
| Weekday 2200 to 2400 | 4506 | 2 | 4506 | 2 | kWh | Off
| Weekend 0000 to 0600 | 4507 | 6 | 4507 | 6 | kWh
| Weekend 0600 to 2200 | 4508 | 16 | 4508 | 16 | kWh
| Weekend 2200 to 2400 | 4509 | 2 | 4509 | 2 | kWh
| Weekday 0000 to 0400 | 4550 | 4 | 4550 | 4 | kWh
| Weekday 0400 to 0800 | 4551 | 4 | 4551 | 4 | kWh
| Weekday 0800 to 1200 | 4552 | 4 | 4552 | 4 | kWh
| Weekday 1200 to 1600 | 4553 | 4 | 4553 | 4 | kWh
| Weekday 1600 to 2000 | 4554 | 4 | 4554 | 4 | kWh
| Weekday 2000 to 2400 | 4555 | 4 | 4555 | 4 | kWh
| Weekday 0000 to 2400 | 4556 | 4 | 4556 | 4 | kWh
| Weekday 2400 to 0800 | 4557 | 4 | 4557 | 4 | kWh
| Weekday 0800 to 1200 | 4558 | 4 | 4558 | 4 | kWh
| Weekday 1200 to 1600 | 4559 | 4 | 4559 | 4 | kWh
| Weekday 1600 to 2000 | 4560 | 4 | 4560 | 4 | kWh
| Weekday 2000 to 2400 | 4561 | 4 | 4561 | 4 | kWh
| Weekday 0600 to 0730, 0930 to 1730, 1930 to 2200 | 4600 | 12 | 4600 | 12 | kWh
| Weekday 0730 to 0930, 1730 to 1930 | 4601 | 4 | 4601 | 4 | kWh
| Any day 2200 to 0600 | 4602 | 8 | 4602 | 8 | kWh
| Weekend 2200 to 0600 | 4603 | 8 | 4603 | 8 | kWh
| Peak, weekdays 0700-1100, 1700-1930 | SEPK | 6.5 | 4610 |  | kWh
| Off peak, weekdays 1100-1700, 1930-2100 | SEOP | 7.5 | 4611 |  | kWh
| Weekday nights 2100-0700, weekends 0000-2400 | SENW | 10 | 4612 |  | kWh
| Off peak, any day 2200-0600 | OPKOOA | 8 | 4620 | 8 | kWh
| Peak, weekdays 0730-0930, 1730-1930 | PKOOA | 4 | 4621 |  | kWh
| Shoulder peak, weekdays 0600-0730, 0930-1730, 1930-2200 and weekends 0600-2200 | SPKOOA | 12 | 4622 |  | kWh
| Off peak, any day 2200-0700 | OPKOOC | 9 | 4630 | 9 | kWh
| Peak, weekdays 0700-0930, 1730-2000 | PKOOC | 5 | 4631 | 5 | kWh
| Shoulder peak, weekdays 0930-1730, 2000-2200 and weekends 0700-2200 | SPKOOC | 10 | 4632 | 10 | kWh
Series time of use business day/non business day
| Business day 0000 to 2400 | 5300 | 24 | 5300 | 24 | kWh
| Non business day 0000 to 2400 | 5301 | 24 | 5301 | 24 | kWh
| Business day 0700 to 2300 | 5350 | 16 | 5350 | 16 | kWh
| Business day 2300 to 2400 | 5351 | 1 | 5351 | 1 | kWh
| Business day 2400 to 0700 | 5352 | 7 | 5352 | 7 | kWh
| Non business day 0700 to 2300 | 5353 | 16 | 5353 | 16 | kWh
| Non business day 2300 to 2400 | 5354 | 1 | 5354 | 1 | kWh
| Non business day 2400 to 0700 | 5355 | 7 | 5355 | 7 | kWh
| Business day 0000 to 0700 | 5400 | 7 | 5400 | 7 | kWh
| Business day 0700 to 1100 | 5401 | 4 | 5401 | 4 | kWh
| Business day 1100 to 1700 | 5402 | 6 | 5402 | 6 | kWh
| Business day 1700 to 2100 | 5403 | 4 | 5403 | 4 | kWh
| Business day 2100 to 2400 | 5404 | 3 | 5404 | 3 | kWh
| Non business day 0000 to 2400 | 5405 | 24 | 5405 | 24 | kWh
| Business day 0000 to 0700 | 5450 | 7 | 5450 | 7 | kWh
| Business day 0700 to 1100 | 5451 | 4 | 5451 | 4 | kWh
| Business day 1100 to 1700 | 5452 | 6 | 5452 | 6 | kWh
| Business day 1700 to 2100 | 5453 | 4 | 5453 | 4 | kWh
| Business day 2100 to 2300 | 5454 | 2 | 5454 | 2 | kWh
| Business day 2300 to 2400 | 5455 | 1 | 5455 | 1 | kWh
| Non business day 0000 to 0700 | 5456 | 7 | 5456 | 7 | kWh
| Non business day 0700 to 1100 | 5457 | 4 | 5457 | 4 | kWh
| Non business day 1100 to 1700 | 5458 | 6 | 5458 | 6 | kWh
| Non business day 1700 to 2100 | 5459 | 4 | 5459 | 4 | kWh
| Non business day 2100 to 2300 | 5460 | 2 | 5460 | 2 | kWh
| Non business day 2300 to 2400 | 5461 | 1 | 5461 | 1 | kWh
| Business day 0000 to 0600 | 5500 | 6 | 5500 | 6 | kWh
| Business day 0600 to 0730 | 5501 | 1.5 | 5501 | 1.5 | kWh
| Business day 0730 to 0930 | 5502 | 2 | 5502 | 2 | kWh
| Business day 0930 to 1730 | 5503 | 8 | 5503 | 8 | kWh
| Business day 1730 to 1930 | 5504 | 2 | 5504 | 2 | kWh
| Business day 1930 to 2200 | 5505 | 2.5 | 5505 | 2.5 | kWh
| Business day 2200 to 2400 | 5506 | 2 | 5506 | 2 | kWh
| Non business day 0000 to 0600 | 5507 | 6 | 5507 | 6 | kWh
| Non business day 0600 to 2200 | 5508 | 18 | 5508 | 18 | kWh
| Business day 0000 to 0400 | 5550 | 4 | 5550 | 4 | kWh
| Business day 0400 to 0800 | 5551 | 4 | 5551 | 4 | kWh
| Business day 0800 to 1200 | 5552 | 4 | 5552 | 4 | kWh
| Business day 1200 to 1600 | 5553 | 4 | 5553 | 4 | kWh
| Business day 1600 to 2000 | 5554 | 4 | 5554 | 4 | kWh
| Business day 2000 to 2400 | 5555 | 4 | 5555 | 4 | kWh
| Non business day 0000 to 2400 | 5556 | 4 | 5556 | 4 | kWh
| Non business day 2400 to 0800 | 5557 | 4 | 5557 | 4 | kWh
| Non business day 0800 to 1200 | 5558 | 4 | 5558 | 4 | kWh
| Non business day 1200 to 1600 | 5559 | 4 | 5559 | 4 | kWh
| Non business day 1600 to 2000 | 5560 | 4 | 5560 | 4 | kWh
| Non business day 2000 to 2400 | 5561 | 4 | 5561 | 4 | kWh
Series time of use Any day
| Any day 0700 to 1200 | 6000 | 5 | 6000 | 5 | kWh | Morning peak
| Any day 1700 to 2100 | 6100 | 4 | 6100 | 4 | kWh | Evening peak
| Any day 2300 to 0700 | OPKOOD | 8 | 6200 | 8 | kWh | Off Peak
| Any day 2200 to 0700 | OPKOOC | 9 | 6201 | 9 | kWh | Off Peak
| Any day 2200 to 0600 | OPKOOA | 8 | 6202 | 8 | kWh | Off Peak
| Any day 0700 to 0930 and 1730 to 2000 | PKOOD | 5 | 6300 | 5 | kWh | Peak
| Any day 0700 to 1000 and 1600 to 2100 | PKOOE | 8 | 6301 | 8 | kWh | Peak
| Any day 0700 to 1100 and 1700 to 2100 | DPK | 8 | 6302 | 8 | kWh | Peak
| Any day 1200 to 1700 and 2100 to 2300 | 6400 | 7 | 6400 | 7 | kWh | Shoulder peak
| Any day 0930 to 1730 and 2000 to 2300 | SPKOOD | 11 | 6401 | 11 | kWh | Shoulder peak
| Any day 1000 to 1600 and 2100 to 2300 | SPKOOE | 8 | 6402 | 8 | kWh | Shoulder peak
| Any day 1100 to 1700 and 2100 to 2300 | DOP | 8 | 6403 | 8 | kWh | Shoulder peak
| Off peak, any day 2300-0700 | OPKOOD | 8 | 6410 | 8 | kWh
| Peak, any day 0700-0930, 1730-2000 | PKOOD | 5 | 6411 | 5 | kWh
| Shoulder peak, any day 0930-1730, 2000-2300 | SPKOOD | 11 | 6412 | 11 | kWh
| Off peak, any day 2300-0700 | OPKOOD | 8 | 6420 | 8 | kWh
| Peak, any day 0700-1000, 1600-2100 | PKOOE | 8 | 6421 | 8 | kWh
| Shoulder peak, any day 1000-1600, 2100-2300 | SPKOOE | 8 | 6422 | 8 | kWh
| Off peak, any day 2300-0700 | N | 8 | 6430 | 8 | kWh
| Peak, any day 0700 to 1100 and 1700 to 2100 | DPK | 8 | 6431 | 8 | kWh
| Shoulder peak, any day 1100 to 1700 and 2100 to 2300 | DOP | 8 | 6432 | 8 | kWh
Series interval data
| 1 minute recorded channel kVA | 7011 | 24 | 7011 | 24 | kVA | Time series data channel
| 1 minute recorded channel kVAh | 7012 | 24 | 7012 | 24 | kVAh | Time series data channel
| 1 minute recorded channel kWh | 7013 | 24 | 7013 | 24 | kWh | Time series data channel
| 1 minute recorded channel kWh | 7014 | 24 | 7014 | 24 | kWh | Time series data channel
| 1 minute recorded channel kVAr | 7015 | 24 | 7015 | 24 | kVAr | Time series data channel
| 1 minute recorded channel kVArh | 7016 | 24 | 7016 | 24 | kVArh | Time series data channel
| 5 minute recorded channel kVA | 7051 | 24 | 7051 | 24 | kVA | Time series data channel
| 5 minute recorded channel kVAh | 7052 | 24 | 7052 | 24 | kVAh | Time series data channel
| 5 minute recorded channel kWh | 7053 | 24 | 7053 | 24 | kWh | Time series data channel
| 5 minute recorded channel kWh | 7054 | 24 | 7054 | 24 | kWh | Time series data channel
| 5 minute recorded channel kVAr | 7055 | 24 | 7055 | 24 | kVAr | Time series data channel
| 5 minute recorded channel kVArh | 7056 | 24 | 7056 | 24 | kVArh | Time series data channel
| 10 minute recorded channel kVA | 7101 | 24 | 7101 | 24 | kVA | Time series data channel
| 10 minute recorded channel kVAh | 7102 | 24 | 7102 | 24 | kVAh | Time series data channel
| 10 minute recorded channel kWh | 7103 | 24 | 7103 | 24 | kWh | Time series data channel
| 10 minute recorded channel kWh | 7104 | 24 | 7104 | 24 | kWh | Time series data channel
| 10 minute recorded channel kVAr | 7105 | 24 | 7105 | 24 | kVAr | Time series data channel
| 10 minute recorded channel kVArh | 7106 | 24 | 7106 | 24 | kVArh | Time series data channel
| 15 minute recorded channel kVA | 7151 | 24 | 7151 | 24 | kVA | Time series data channel
| 15 minute recorded channel kVAh | 7152 | 24 | 7152 | 24 | kVAh | Time series data channel
| 15 minute recorded channel kWh | 7153 | 24 | 7153 | 24 | kWh | Time series data channel
| 15 minute recorded channel kWh | 7154 | 24 | 7154 | 24 | kWh | Time series data channel
| 15 minute recorded channel kVAr | 7155 | 24 | 7155 | 24 | kVAr | Time series data channel
| 15 minute recorded channel kVArh | 7156 | 24 | 7156 | 24 | kVArh | Time series data channel
| 30 minute recorded channel kVA | 7301 | 24 | 7301 | 24 | kVA | Time series data channel
| 30 minute recorded channel kVAh | 7302 | 24 | 7302 | 24 | kVAh | Time series data channel
| 30 minute recorded channel kWh | 7303 | 24 | 7303 | 24 | kWh | Time series data channel
| 30 minute recorded channel kWh | 7304 | 24 | 7304 | 24 | kWh | Time series data channel
| 30 minute recorded channel kVAr | 7305 | 24 | 7305 | 24 | kVAr | Time series data channel
| 30 minute recorded channel kVArh | 7306 | 24 | 7306 | 24 | kVArh | Time series data channel